Table of Contents

# SPACE-Tag Protocol: Spatial Chromatin Profiling

SPACE-Tag integrates spatial barcoding with CUT&Tag-based epigenomic profiling. Antibody-guided PA-Tn5 tagmentation generates transcribable DNA fragments at target chromatin loci, which are then spatially captured via in vitro transcription and reverse transcription on the Visium slide.

Tags: Spatial Epigenomics | CUT&Tag | Visium | PA-Tn5 | Histone Modifications
Last updated: June 6, 2024

## Solutions & Reagents

Prepare all buffers fresh or as needed. Store at 4°C unless otherwise noted.

### digi-CT Wash Buffer

| Reagent | Volume | Final Conc. |
| --- | --- | --- |
| 1M HEPES | 200 µl | 20 mM |
| 5M NaCl | 300 µl | 150 mM |
| 6.4M spermidine | 0.78 µl | 0.5 mM |
| Protease inhibitor | 1 tablet | 1x |
| 5% digitonin | 20 µl | 0.01% |
| H₂O | to 10 ml | — |

### digi-300-Wash Buffer

Higher NaCl (300 mM) reduces non-specific Tn5 binding during tagmentation.

| Reagent | Volume | Final Conc. |
| --- | --- | --- |
| 1M HEPES | 200 µl | 20 mM |
| 5M NaCl | 600 µl | 300 mM |
| 6.4M spermidine | 0.78 µl | 0.5 mM |
| Protease inhibitor | 1 tablet | 1x |
| 5% digitonin | 20 µl | 0.01% |
| H₂O | to 10 ml | — |

### Tagmentation Buffer

| Reagent | Volume |
| --- | --- |
| digi-300-wash buffer | 1000 µl |
| 1M MgCl₂ | 10 µl (10 mM final) |

MgCl₂ is required for Tn5 transposase activity.

### 2x Primer Hybridization Buffer

| Reagent | Volume | Final Conc. |
| --- | --- | --- |
| 20X SSC | 2 ml | 4X SSC |
| 100% Formamide | 4 ml | 40% |
| 10% Tween-20 | 200 µl | 0.2% |
| H₂O | to 10 ml | — |

### Additional Reagents Required

- 1X PBS

- 1X PBS with 1.25 M Glycine

- BD Perm/Wash Buffer (554723)

- 40 mM EDTA

- ArrayIT 16-well Hybridization Cassettes (AHC1X16) or Proplate (244864, Grace Biolabs)

## Day 0 — Preparation

### A. Adapter Annealing (can be done in advance)

#### Adapter Sequences

HPLC purification recommended; alternatively order in ultramer format.

| Name | Sequence (5’→3’) |
| --- | --- |
| dual_ME19_polyT_v2 (Adapter A) | TTTTTTTTTTTTTTTTTTTTTTTTTTTTTTVNAGATGTGTATAAGAGACAG |
| T7_MedsB (Adapter B) | GAATTTAATACGACTCACTATAGGGGTCTCGTGGGCTCGGAGATGTGTATAAGAGACAG |
| ME_19_Phos (Mosaic Ends) | /5Phos/CTGTCTCTTATACACATCT |

#### Annealing Recipe (per adapter)

| Reagent | Volume |
| --- | --- |
| Adapter A or B (100 µM stock) | 25 µl |
| Mosaic ends | 25 µl |
| 50x annealing buffer (0.5 M Tris pH 8.0, 2.5 M NaCl) | 1 µl |

#### Annealing Program

- 95°C for 5 min

- Ramp down to 14°C at −0.1°C/s (slow cool for proper duplex formation)

Storage: Aliquot annealed adapters into 2 µl single-use stocks and store at −20°C. Use a fresh aliquot for each experiment.

### B. PA-Tn5 Dilution & Transposon Assembly

#### PA-Tn5 Dilution

Dilute PA-Tn5 to 0.5 mg/ml using dilution buffer:

Dilution buffer: 50% glycerol, 10 mM Tris-HCl pH 7.5, 100 mM NaCl, 0.1 mM EDTA, 1 mM DTT

## Day 1 — Protocol Steps

### Step 0: Load the PA-Tn5

Rationale: I found freshly loaded Transposome works the best (highest activity and more stable)

Transposome assembly:

- Mix 10 µl of 0.5 mg/ml PA-Tn5 with 2 µl of annealed adapter aliquot (one per adapter).

- Incubate at RT for 1 hr.

### Step 1: Formaldehyde Tissue Fixation

Rationale: Light formaldehyde fixation preserves tissue morphology and protein–chromatin interactions while maintaining antibody/enzyme accessibility in subsequent steps.

Before experiment:

- Prepare 0.2% formaldehyde (methanol-free, Sigma F8775-25ML) in PBS.

- Set thermomixer to 37°C and allow to equilibrate for 5 min.

Tissue fixation:

- Section tissue onto the Visium capture area at a thickness of 10 µm.

- Place the slide (active surface up) on the thermomixer. Incubate for 5 min at 37°C.

- Remove the slide; wipe excess liquid from the back without touching tissue sections.

- Apply 1 ml of 0.2% formaldehyde in 1xPBS to cover the tissue. Incubate at RT for 10 min.

- Wash with 1 ml of 1X PBS + 1.25 M glycine to quench residual formaldehyde, then remove.

- Quickly wash with 1 ml of 1X PBS for ~2 min at RT.

### Step 2: Permeabilization

- Prepare 1x BD Perm buffer on ice.

- Apply 70 µl 1x BD Perm buffer to each well.

- Incubate for 30 min at 4°C (in referigerater).

### Step 3: Primary Antibody Staining

- After removing BD Perm buffer, apply 70 µl primary antibody diluted in 1X BD Perm buffer.

- Incubate at RT for 1 hr.

- Wash with 100 µl 1x PBS for 5 min at RT.

Note: Dilution factor should be benchmarked by immunostaining and a pilot experiment.

### Step 4: Secondary Antibody Staining

Rationale: The secondary antibody bridges the primary antibody to PA-Tn5, enabling targeted tagmentation at chromatin loci of interest.

- Add secondary antibody in digi-CT wash buffer at 1:50 dilution, 70 µl/well. Incubate at RT for 30 min.

- Wash with 100 µl digi-CT wash buffer for 5 min at RT.

### Step 5: Tagmentation

Rationale: PA-Tn5 loaded with sequencing adapters inserts adapters at antibody-bound chromatin sites. Higher salt during binding reduces non-specific insertion; MgCl₂ activates Tn5 during tagmentation.

- Add loaded PA-Tn5 in 70 µl digi-300-wash buffer (1:50 dilution). Incubate for 1 hr at RT.

- Wash with digi-300-wash buffer for 5 min at RT.

- Add tagmentation buffer (10 mM MgCl₂ in digi-300-wash buffer).

- Incubate at 55°C for 1 hr (no shake).

Recommended: Start ramping down temperature at 55 min from 55°C → 37°C before stopping, optionally additionally 5min for the temperature to ramp down fully.

### Step 6: Tissue Clearing

Rationale: HCl treatment removes histones and bound Tn5, improving accessibility for Gap Filling reaction and in vitro transcription.

- Remove the Tagmentation Reaction.

- Add 70 µl of 0.1 M HCl (accurately diluted from stock) to each well.

- Incubate for 2 min at RT.

- Remove HCl.

- Add 100 µl of 1X NEB buffer 2 and incubate for 5 min at RT.

note: the 2min clearing here is optimized for mouse brain tissue, for other tissue types, this time might needs optimization.

### Step 7: Gap Filling

Rationale: Tagmentation creates nicked DNA ends. Gap filling repairs these nicks, enabling downstream in vitro transcription for signal amplification.

Gap-Fill Solution (70 µl/well):

| Reagent | Volume |
| --- | --- |
| H₂O | 56.8 µl |
| 10x NEB buffer 2 | 7 µl |
| dNTPs | 3.5 µl |
| RNase Inhibitor (RNAseout) | 0.7 µl |
| Klenow (exo⁻) | 2 µl |

- Remove buffer; add 70 µl fill-in solution. Incubate at 37°C for 30 min without shaking.

- Add 100 µl of 1X T7 buffer and incubate for 5 min at RT.

A Thermotop is recommended for even temperature distribution.

### Step 8: In Vitro Transcription

Rationale: T7 RNA polymerase transcribes from the inserted T7 promoter, generating multiple RNA copies per tagmentation event — a key amplification step that increases sensitivity.

IVT Solution (70 µl/well):

| Reagent | Volume (µl) |
| --- | --- |
| nuclease-free water | 35.0 |
| 5× Thermo EP0111 buffer (COMMERCIAL) | 14.0 |
| 25 mM-each rNTP (NEB N0466) | 11.2 |
| 200 mM MgCl₂ working stock | 5.6 |
| RNase inhibitor | 3.5 |
| T7 (Thermo EP0111), 1% | 0.7 |

- Remove T7 buffer and apply 70 µl IVT solution to each well.

- Seal wells with film and incubate in thermomixer at 37°C overnight (14–16 hrs).

A thermotop is recommended to maintain temperature uniformity.

## Day 2

### Step 9: Methanol Fixation

Rationale: Methanol fixation preserves IVT-generated RNA transcripts in place on the slide, enabling spatial capture in subsequent steps.

Night before: Chill methanol (40 ml/slide) in a 50 ml centrifuge tube at −20°C.

- Completely immerse the slide in pre-chilled methanol; secure the cap. Incubate upright for 30 min at −20°C.

- Remove the slide; wipe excess liquid from the back without touching tissue sections. Place on a flat, clean, non-absorbent surface.

- Add 500 µl isopropanol to uniformly cover all tissue sections. Incubate for 1 min at RT, then discard by draining. Wipe off excess.

- Air dry the slide. Inspect after 5 min.

DO NOT exceed 10 min drying time to avoid over-drying the tissue.

### Step 10: H&E Staining

Rationale: H&E staining is performed for histological imaging to annotate tissue regions and guide downstream spatial analysis.

Before experiment — dispense Milli-Q water: - 50 ml into one 50 ml centrifuge tube (per slide) - 800 ml each into Beakers 1, 2, and 3 (each sufficient for two slides)

Eosin Mix:

DO NOT add undiluted eosin directly to tissue sections.

| Reagent | Volume/slide |
| --- | --- |
| Eosin Y Solution | 100 µl |
| Tris-Acetic Acid Buffer (0.45 M, pH 6.0) | 900 µl |
| Total | 1,000 µl |

Staining Steps:

- Add 1 ml Hematoxylin to cover sections. Incubate for 7 min at RT, then drain.

- Immerse slide: 5× centrifuge-tube water → 15× Beaker 1 → 15× Beaker 2. Spin dry.

- Add 1 ml Bluing Buffer. Incubate for 2 min at RT, then discard.

- Immerse slide 5× in Beaker 2 water. Spin dry.

- Add 1 ml Eosin Mix. Incubate for 1 min at RT, then discard.

- Immerse slide 15× in Beaker 3 water. Spin dry.

- Incubate on Thermocycler Adaptor (lid open) for 1 min at 37°C.

Proceed to tissue imaging on the Metafer scope.

### Step 11: Tissue Wash

- After imaging, wash with 1X RT buffer (MMuLV, Maxima, or SSIII) at 37°C for 30 min.

### Step 12: cDNA Synthesis

Rationale: Reverse transcription converts IVT-generated RNA into cDNA using the spatially barcoded capture oligos on the Visium slide, enabling spatial indexing of the signal.

Option 1: Visium RT Reaction

Prepare Visium RT reagent as below:

| RT Master Mix | PN | 1X (µl) |
| --- | --- | --- |
| Nuclease-free Water |  | 40.2 |
| RT Reagent | 2000086 | 17.5 |
| Reducing Agent B | 2000087 | 1.4 |
| RT Enzyme D | 2000216/2000227 | 10.9 |
| total |  | 70 |

- Remove the 1X RT Buffer from each well, add the RT Mix to each well.

- Incubate 53°C for 90min.

Option 2: Alternatively, home made RT can be performed

Prepare the RT mixture (70 µl/well) and pre-heat to 42°C before use.

Option A: MMuLV (NEB)

| Reagent | Volume |
| --- | --- |
| 5x Maxima RT Buffer | 14 µl |
| Water (RNase/DNase-free) | 41.35 µl |
| BSA (20 mg/ml) | 0.65 µl |
| dNTP mix (10 mM each) | 3.5 µl |
| (Add immediately before use:) |  |
| RNaseOut (40 U/µl) | 3.5 µl |
| MMuLV (200 U/µl) | 7 µl |
| Total | 70 µl |

Option B: Superscript III (Thermo)

| Reagent | Volume |
| --- | --- |
| 5x RT Buffer | 14 µl |
| Water (RNase/DNase-free) | 41.35 µl |
| BSA (20 mg/ml) | 0.65 µl |
| dNTP mix (10 mM each) | 3.5 µl |
| (Add immediately before use:) |  |
| RNaseOut (40 U/µl) | 3.5 µl |
| SSIII (200 U/µl) | 7 µl |
| Total | 70 µl |

- Add 70 µl of RT mix to each well; avoid bubbles. Cover with a plate sealer.

- Incubate at 42°C overnight or for 6 hrs in an Eppendorf thermomixer.

### Step 13: Denaturation (post-RT)

Rationale: KOH denaturation removes the RNA template, leaving single-stranded cDNA for second strand synthesis.

- Remove the RT mixture.

- Add 70 µl of 0.08 M KOH (freshly diluted) to each well.

- Incubate for 5 min at RT.

- Remove KOH.

- Add 100 µl of Buffer EB (10 mM Tris-Cl, pH 8.5) to neutralize.

### Step 14: Second Strand Synthesis

Rationale: A primer is annealed to the single-stranded cDNA; Klenow polymerase extends it to generate dsDNA suitable for PCR amplification.

Primer Annealing:

| Reagent | Volume |
| --- | --- |
| 2x primer hybridization buffer | 35 µl |
| Primer (1 µM) | 1.4 µl |
| H₂O | 33.6 µl |

- Add 70 µl of primer annealing mix to each well; incubate at RT for 30 min.

- Wash with Buffer EB: pipette 100 µl into each well and immediately remove.

Klenow Extension:

| Reagent | Volume |
| --- | --- |
| 5x Maxima Buffer | 14 µl |
| Water (RNase/DNase-free) | 40.25 µl |
| dNTP mix (10 mM each) | 7 µl |
| DNA primer (10 µM) | 7 µl |
| Klenow (200 U/µl) | 1.75 µl |
| Total | 70 µl |

- Add 70 µl of Klenow mix to each well; avoid bubbles. Cover and incubate for 1 hr at 37°C.

- Remove the Klenow mix.

### Step 15: Denaturation (post-Second Strand)

Rationale: A second KOH denaturation releases the dsDNA from the slide for collection and downstream library preparation.

- Remove reagents from the wells.

- Add 100 µl Buffer EB to each well; remove immediately.

- Add 35 µl of 0.08 M KOH (freshly diluted) to each well.

- Incubate for 10 min at RT.

- Add 5 µl of 1 M Tris (pH 7.0) to each tube in an 8-tube strip to pre-neutralize.

- Transfer 35 µl of sample from each well to the corresponding Tris-containing tube (±1–2 µl variation expected).

- Vortex briefly, centrifuge, and place on ice.

### Step 16: PCR Library Amplification

Rationale: PCR1 amplifies the cDNA library using primers targeting the capture oligo and Nextera adapter sequences. Index PCR adds sample-specific barcodes for multiplexed sequencing.

PCR1:

For Visium slides (e.g. mouse brain, ~70% capture area): ~18 cycles recommended.

| Reagent | Volume |
| --- | --- |
| Elution | 40 µl |
| cDNA-oligo1 (CTACACGACGCTCTTCCGATCT) | 5 µl |
| PF-nexteraR2-DME (GTCTCGTGGGCTCGGAGATGTGTATAAGAGACAG) | 5 µl |
| NEBNext | 50 µl |

PCR1 Program:

| Step | Temp | Time | Cycles |
| --- | --- | --- | --- |
| Initial denaturation | 98°C | 3 min | 1 |
| Denaturation | 98°C | 15 s | 18× |
| Annealing | 60°C | 20 s | 18× |
| Extension | 72°C | 1 min | 18× |
| Final extension | 72°C | 1 min | 1 |
| Hold | 4°C | ∞ | — |

Purify with 1x SPRI; elute in 50 µl. Use 10 µl for index PCR.

Index PCR (5 cycles):

| Reagent | Volume |
| --- | --- |
| Elution | 10 µl |
| SIPCR-T5XXX | 5 µl |
| N7 indexing primer | 5 µl |
| H2O | 30 µl |
| NEBNext | 25 µl |

Primer sequences:

- SIPCR-T5XXX: AATGATACGGCGACCACCGAGATCTACACNNNNNNNNACACTCTTTCCCTACACGACGCTC

- N7 indexing primer: CAAGCAGAAGACGGCATACGAGATNNNNNNNNGTCTCGTGGGCTCGG

Final Cleanup: Perform 0.65x SPRI purification